DIGITAL PANEL METERS ICO 52

Electrical measurements of process temperature measurements 10 000 points

The function of measurement and range,as well as put on a specific scala are programmable.

The parameters thus configures are protected against all inopportune modifications.

- Format 72 x 24 mm

- Function,ranges and scale

- programmable

- Configurable on site

Functions

Measure...............................................

The ICO 52 allows measurements of voltage, running and resistance of process as well as the temperature measurements using platinum resistor probes or thermocouples.

Automatic change of range...............................................

In voltage and resistance.

Hold the measurement...............................................

It is carried out by a simple short-circuit on the back connector block.

Scaling...............................................

The value to be entered using keyboard, while the value of measurement corresponding can be is introduced of the same way, is measured by the instrument.

This possibility is very interesting for the errors corrections on temperature ranges.

Temperature measurements...............................................

(1) For a type of determined sensor, the commutation of range and the change of resolution can be automatic.

Possibility of going beyond of range.

Display in C or F.

(2)In ± (% reading + nb de °C) on 1 year without junction of reference.

The typical error brought by the junction of reference AN8002 is of 0,3 C.

electrical measurements of process...............................................

(3) Extended from measurement : - 40 à + 110 % range

(4) In ± (% reading +a number of units) on 1 year

General characteristics

Display...............................................

From - 1999 to 9999 with indication, LED red,yellow or green of 14 mm.

Speed of measurement : 2,5 measures/s.

Temperature coefficient£ 10 % accuracy/°C.

Climatic environnement...............................................

Nominal field : 23 ± 1°C, 20 to 75 % HR without condensation.

Nominal field : 0 à 50°C, 20 to 80 %HR without condensation.

Limiting field : - 10 to + 50°C.

Acceptable maximum voltage on the ranges: ...............................................

600 V~ on the ranges 5 V and 50 V;

250 V~ on the ranges 50 mV, 500 mV and thermocouples;

20 V~ on the entries of measurement of resistance.

Common mode...............................................

Rejection ³ 110 dB to 50 Hz on the range 50 mV.

Acceptable maximum voltage : 250 V~.

Rejection of series mode...............................................

³ 60 dB to 50 Hzon the range 50 mV.

Isolated power supply...............................................

230 V~ (± 10 %) 50 to 60 Hz.

Others power supply :

5 V- ± 10 %,

9 to 18 V -

18 to 36 V-,

36 to 72 V-,

24 V~ ± 10 %,

48 V~, ± 10 %,

115 V~± 10 %.

Presentation...............................................

Case ABS.

Sealing IP 40.

Weight: approximately 300 G.

Connection...............................................

Removable screwing connectors supplied

with instrument.

Dimensions

Accessories

External shunt...............................................

Shunt 10 W, 500 mV, precision 0,1 % ;

Skewerable module on the connector of entry for measurements in 4-20 my or 0-50 mA (current max. : 100 mA).

Dimensions : 25 x 27,5 x 14,8 mm.

Compensation of junction of reference...............................................

Modulate screwed on the transportable back connector block remotely.

Typical error : 0,3°C.

Error max. : 0,5°C.

Dimensions : 25 x 27,5 x 14,8 mm.

Mechanical flange of adaptation...............................................

Adaptation to a drilling of panel of higher dimensions of a few millimetres

External dimensions : 80 x 32 mm.

Instructions to order

Options et accessories...............................................

External shunt                   AN 8005

Modulate junction of reference      AN 8002

Flange of adaptation              AMD001

Indicator 12 ways See note         BCM012